## Sheet1
DATE | WTG ID | SITE | CUSTOMER | WTG | GEN(FTD) | GEN(MTD) | GEN(YTD) | PROD. | IDLE | MAINT. | GRID DROP | ERROR | FM. | AWS | GA | MA(FTD) | MA(MTD) | MA(YTD) | SEG | PLF | DOC | ERROR DETAILS | ACTION TAKEN | MAJOR STOPPAGE | REMARKS
[5 empty] | Kwh | Kwh | Kwh | HRS | HRS. | HRS. |  | HRS. | HRS. | m/s | % | % | % | % | KW | %
2021-01-13 | Kass 1 | Kaas | DJM | LS-016 | 0 | 0 | 1381240 | 0:00 | 0:00 | 0:00 | 0:00 | 24:00 | 0:00 | 0 | 100 | 0 | 0 | 55.67 | 0 | 0 | 2010-09-26 | Axis 2 Pitch Bearing failure(1) |  | Axis 2 Pitch Bearing failure(1)
2021-01-14 | Kass 1 | Kaas | DJM | LS-016 | 0 | 0 | 1381240 | 0:00 | 0:00 | 0:00 | 0:00 | 24:00 | 0:00 | 0 | 100 | 0 | 0 | 55.38 | 0 | 0 | 2010-09-26 | Axis 2 Pitch Bearing Failure(1) |  | Axis 2 Pitch Bearing Failure(1)
2021-01-15 | Kass 1 | Kaas | DJM | LS-016 | 0 | 0 | 1381240 | 0:00 | 0:00 | 0:00 | 0:00 | 24:00 | 0:00 | 0 | 100 | 0 | 0 | 55.11 | 0 | 0 | 2010-09-26 | Axis 2 Pitch bearing failure(1) |  | Axis 2 Pitch bearing failure(1)
2021-01-16 | Kass 1 | Kaas | DJM | LS-016 | 0 | 0 | 1381240 | 0:00 | 0:00 | 0:00 | 0:00 | 24:00 | 0:00 | 0 | 100 | 0 | 0 | 54.83 | 0 | 0 | 2010-09-26 | Axis 2 Pitch Bearing Failure(1) |  | Axis 2 Pitch Bearing Failure(1)
2021-01-17 | Kass 1 | Kaas | DJM | LS-016 | 0 | 0 | 1381240 | 0:00 | 0:00 | 0:00 | 0:00 | 24:00 | 0:00 | 0 | 100 | 0 | 0 | 54.56 | 0 | 0 | 2010-09-26 | Axis 2 Pitch Bearing(1) |  | Axis 2 Pitch Bearing(1)
2021-01-18 | Kass 1 | Kaas | DJM | LS-016 | 0 | 0 | 1381240 | 0:00 | 0:00 | 0:00 | 0:00 | 24:00 | 0:00 | 0 | 100 | 0 | 0 | 54.29 | 0 | 0 | 2010-09-26 | Axis 2 Pitch Bearing Failure(1) |  | Axis 2 Pitch Bearing Failure(1)
2021-01-19 | Kass 1 | Kaas | DJM | LS-016 | 0 | 0 | 1381240 | 0:00 | 0:00 | 0:00 | 0:00 | 24:00 | 0:00 | 0 | 100 | 0 | 0 | 54.02 | 0 | 0 | 2010-09-26 | Axis 2 Pitch Bearing Failure(1) |  | Axis 2 Pitch Bearing Failure(1)
2021-01-20 | Kass 1 | Kaas | DJM | LS-016 | 0 | 0 | 1381240 | 0:00 | 0:00 | 0:00 | 0:00 | 24:00 | 0:00 | 0 | 100 | 0 | 0 | 53.76 | 0 | 0 | 2010-09-26 | Axis 2 Pitch Bearing Failure(1) |  | Axis 2 Pitch Bearing Failure(1)
2021-01-21 | Kass 1 | Kaas | DJM | LS-016 | 0 | 0 | 1381240 | 0:00 | 0:00 | 0:00 | 0:00 | 24:00 | 0:00 | 0 | 100 | 0 | 0 | 53.49 | 0 | 0 | 2010-09-26 | Axis 2 Pitch Bearing failure(1) |  | Axis 2 Pitch Bearing failure(1)
2021-01-22 | Kass 1 | Kaas | DJM | LS-016 | 0 | 0 | 1381240 | 0:00 | 0:00 | 0:00 | 0:00 | 24:00 | 0:00 | 0 | 100 | 0 | 0 | 53.23 | 0 | 0 | 2010-09-26 | Axis 2 Pitch Bearing failure(1) |  | Axis 2 Pitch Bearing failure(1)
2021-01-23 | Kass 1 | Kaas | DJM | LS-016 | 0 | 0 | 1381240 | 0:00 | 0:00 | 0:00 | 0:00 | 24:00 | 0:00 | 0 | 100 | 0 | 0 | 52.98 | 0 | 0 | 2010-09-26 | Axis 2 Pitch Bearing Failure(1) |  | Axis 2 Pitch Bearing Failure(1)
2021-01-24 | Kass 1 | Kaas | DJM | LS-016 | 0 | 0 | 1381240 | 0:00 | 0:00 | 0:00 | 0:00 | 24:00 | 0:00 | 0 | 100 | 0 | 0 | 52.72 | 0 | 0 | 2010-09-26 | Axis 2 Pitch Bearing failure(1) |  | Axis 2 Pitch Bearing failure(1)
2021-01-25 | Kass 1 | Kaas | DJM | LS-016 | 0 | 0 | 1381240 | 0:00 | 0:00 | 0:00 | 0:00 | 24:00 | 0:00 | 0 | 100 | 0 | 0 | 52.47 | 0 | 0 | 2010-09-26 | Axis 2 Pitch Bearing failure(1) |  | Axis 2 Pitch Bearing failure(1)
2021-01-26 | Kass 1 | Kaas | DJM | LS-016 | 0 | 0 | 1381240 | 0:00 | 0:00 | 0:00 | 0:00 | 24:00 | 0:00 | 0 | 100 | 0 | 0 | 52.22 | 0 | 0 | 2010-09-26 | Axis 2 Pitch Bearing Failure(1) |  | Axis 2 Pitch Bearing Failure(1)
2021-01-27 | Kass 1 | Kaas | DJM | LS-016 | 0 | 0 | 1381240 | 0:00 | 0:00 | 0:00 | 0:00 | 24:00 | 0:00 | 0 | 100 | 0 | 0 | 51.97 | 0 | 0 | 2010-09-26 | Axis 2 Pitch Bearing Failure(1) |  | Axis 2 Pitch Bearing Failure(1)
2021-01-28 | Kass 1 | Kaas | DJM | LS-016 | 0 | 0 | 1381240 | 0:00 | 0:00 | 0:00 | 0:00 | 24:00 | 0:00 | 0 | 100 | 0 | 0 | 51.73 | 0 | 0 | 2010-09-26 | Axis 2 Pitch Bearing Failure(1) |  | Axis 2 Pitch Bearing Failure(1)
2021-01-29 | Kass 1 | Kaas | DJM | LS-016 | 0 | 0 | 1381240 | 0:00 | 0:00 | 0:00 | 0:00 | 24:00 | 0:00 | 0 | 100 | 0 | 0 | 51.48 | 0 | 0 | 2010-09-26 | Axis 2 Pitch Bearing Failure(1) |  | Axis 2 Pitch Bearing Failure(1)
2021-01-30 | Kass 1 | Kaas | DJM | LS-016 | 500 | 500 | 1381740 | 8:12 | 0:08 | 0:00 | 0:00 | 15:40 | 0:00 | 3.39 | 100 | 34.72 | 1.16 | 51.41 | 60.02 | 1.39 | 2010-09-26 | Axis 2 pitch Bearing Failure(1) | Axis 2 pitch Bearing replaced(1)
2021-01-31 | Kass 1 | Kaas | DJM | LS-016 | 1346 | 1846 | 1383080 | 11:05 | 0:02 | 12:51 | 0:00 | 0:02 | 0:00 | 4.5 | 100 | 46.34 | 2.61 | 51.38 | 121.04 | 3.74 | 2010-09-26 | yaw hydraulic brake caliber oil seal changing(1) | yaw hydraulic brake caliber oil seal changing work completed(1)
2021-02-01 | Kass 1 | Kaas | DJM | LS-016 | 1352 | 1352 | 1384440 | 5:52 | 0:14 | 14:13 | 0:00 | 3:41 | 0:00 | 5.51 | 100 | 25.41 | 25.41 | 51.26 | 222.37 | 3.76 | 2010-09-26 | yaw hydraulic brake caliber oil seal changing(1) | In this machine manual stopped for yaw caliber oil seal replacing work. Already 3 calibers bypassed condition due to oil seal failure. So replaced the oil seal and yawing checked ok. Then restarting time yaw hydraulic brake system: cycle time error came. So check and found pressure not develop. So checking work was under process.(1) yaw hydraulic brake caliber oil seal changing work completed(1)
2021-02-02 | Kass 1 | Kaas | DJM | LS-016 | 8850 | 10202 | 1393290 | 22:11 | 0:03 | 0:00 | 1:46 | 0:00 | 0:00 | 6.91 | 92.64 | 100 | 62.7 | 51.49 | 398.11 | 24.58 | 2010-09-26
2021-02-03 | Kass 1 | Kaas | DJM | LS-016 | 4140 | 14342 | 1397430 | 20:12 | 3:27 | 0:00 | 0:00 | 0:21 | 0:00 | 5.72 | 100 | 98.55 | 74.65 | 51.7 | 175.05 | 11.5 | 2010-09-26
2021-02-04 | Kass 1 | Kaas | DJM | LS-016 | 2272 | 16614 | 1399700 | 14:53 | 5:51 | 3:12 | 0:00 | 0:04 | 0:00 | 4.44 | 100 | 86.42 | 77.59 | 51.86 | 109.6 | 6.31 | 2010-09-26 | HT maintenance work(1) | HT maintenance work completed(1)
2021-02-05 | Kass 1 | Kaas | DJM | LS-016 | 2226 | 18840 | 1401920 | 9:54 | 10:19 | 0:00 | 3:47 | 0:00 | 0:00 | 3.39 | 84.24 | 100 | 82.08 | 52.08 | 110.09 | 6.18 | 2010-09-26
2021-02-06 | Kass 1 | Kaas | DJM | LS-016 | 4000 | 22840 | 1405920 | 14:37 | 1:39 | 0:00 | 7:44 | 0:00 | 0:00 | 5.81 | 67.78 | 100 | 85.06 | 52.3 | 245.85 | 11.11 | 2010-09-26
2021-02-07 | Kass 1 | Kaas | DJM | LS-016 | 12006 | 34846 | 1417930 | 23:39 | 0:21 | 0:00 | 0:00 | 0:00 | 0:00 | 7.68 | 100 | 100 | 87.2 | 52.51 | 500.25 | 33.35 | 2010-09-26
2021-02-08 | Kass 1 | Kaas | DJM | LS-016 | 11502 | 46348 | 1429430 | 19:46 | 0:58 | 0:00 | 3:16 | 0:00 | 0:00 | 8.49 | 86.39 | 100 | 88.8 | 52.72 | 554.85 | 31.95 | 2010-09-26
2021-02-09 | Kass 1 | Kaas | DJM | LS-016 | 2880 | 49228 | 1432310 | 8:55 | 3:16 | 0:00 | 11:40 | 0:10 | 0:00 | 5.26 | 51.39 | 99.34 | 89.97 | 52.93 | 236.65 | 8 | 2010-09-26
2021-02-10 | Kass 1 | Kaas | DJM | LS-016 | 966 | 50194 | 1433280 | 12:49 | 11:11 | 0:00 | 0:00 | 0:00 | 0:00 | 3.6 | 100 | 100 | 90.97 | 53.14 | 40.25 | 2.68 | 2010-09-26
2021-02-11 | Kass 1 | Kaas | DJM | LS-016 | 2028 | 52222 | 1435310 | 12:08 | 9:23 | 0:00 | 0:00 | 2:29 | 0:00 | 3.63 | 100 | 89.68 | 90.85 | 53.3 | 94.24 | 5.63 | 2010-09-26 |  | During running time this error was came. We check and found pressure not develop. So remove the solenoid valve, cleaning and fixed. But pressure not develop. So temporary disable the error and restart the machine.(1)
2021-02-12 | Kass 1 | Kaas | DJM | LS-016 | 274 | 52496 | 1435580 | 4:27 | 16:14 | 0:00 | 3:19 | 0:00 | 0:00 | 2.29 | 86.18 | 100 | 91.62 | 53.51 | 13.25 | 0.76 | 2010-09-26
2021-02-13 | Kass 1 | Kaas | DJM | LS-016 | 1358 | 53854 | 1436940 | 15:54 | 6:06 | 0:00 | 2:00 | 0:00 | 0:00 | 3.91 | 91.67 | 100 | 92.26 | 53.71 | 61.73 | 3.77 | 2010-09-26
2021-02-14 | Kass 1 | Kaas | DJM | LS-016 | 942 | 54796 | 1437880 | 12:49 | 7:56 | 0:00 | 3:15 | 0:00 | 0:00 | 3.53 | 86.46 | 100 | 92.81 | 53.91 | 45.4 | 2.62 | 2010-09-26
2021-02-15 | Kass 1 | Kaas | DJM | LS-016 | 1462 | 56258 | 1439340 | 11:53 | 10:13 | 0:00 | 1:54 | 0:00 | 0:00 | 3.36 | 92.08 | 100 | 93.29 | 54.12 | 66.15 | 4.06 | 2010-09-26
2021-02-16 | Kass 1 | Kaas | DJM | LS-016 | 2076 | 58334 | 1441420 | 16:17 | 7:43 | 0:00 | 0:00 | 0:00 | 0:00 | 3.9 | 100 | 100 | 93.71 | 54.31 | 86.5 | 5.77 | 2010-09-26
2021-02-17 | Kass 1 | Kaas | DJM | LS-016 | 1822 | 60156 | 1443240 | 14:07 | 9:46 | 0:00 | 0:00 | 0:06 | 0:00 | 3.78 | 100 | 99.56 | 94.06 | 54.51 | 76.3 | 5.06 | 2010-09-26
2021-02-18 | Kass 1 | Kaas | DJM | LS-016 | 7676 | 67832 | 1450920 | 18:43 | 4:18 | 0:00 | 0:59 | 0:00 | 0:00 | 6.03 | 95.9 | 100 | 94.39 | 54.7 | 333.45 | 21.32 | 2010-09-26
2021-02-19 | Kass 1 | Kaas | DJM | LS-016 | 21220 | 89052 | 1472140 | 22:55 | 1:05 | 0:00 | 0:00 | 0:00 | 0:00 | 9.88 | 100 | 100 | 94.68 | 54.9 | 884.17 | 58.94 | 2010-09-26
2021-02-20 | Kass 1 | Kaas | DJM | LS-016 | 16324 | 105376 | 1488460 | 15:14 | 1:34 | 0:00 | 7:12 | 0:00 | 0:00 | 9.42 | 70 | 100 | 94.95 | 55.09 | 971.67 | 45.34 | 2010-09-26
2021-02-21 | Kass 1 | Kaas | DJM | LS-016 | 23708 | 129084 | 1512170 | 24:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 11.02 | 100 | 100 | 95.19 | 55.28 | 987.83 | 65.86 | 2010-09-26
2021-02-22 | Kass 1 | Kaas | DJM | LS-016 | 7620 | 136704 | 1519790 | 16:53 | 2:22 | 4:44 | 0:00 | 0:01 | 0:00 | 7.59 | 100 | 80.2 | 94.51 | 55.39 | 396.26 | 21.17 | 2010-09-26 | Gear oil replacement work(1) | Gear oil replacement work completed(1)
2021-02-23 | Kass 1 | Kaas | DJM | LS-016 | 1518 | 138222 | 1521310 | 19:03 | 4:57 | 0:00 | 0:00 | 0:00 | 0:00 | 4 | 100 | 100 | 94.75 | 55.57 | 63.25 | 4.22 | 2010-09-26
2021-02-24 | Kass 1 | Kaas | DJM | LS-016 | 3904 | 142126 | 1525210 | 16:42 | 6:56 | 0:00 | 0:00 | 0:22 | 0:00 | 4 | 100 | 98.5 | 94.9 | 55.75 | 165.21 | 10.84 | 2010-09-26
2021-02-25 | Kass 1 | Kaas | DJM | LS-016 | 2386 | 144512 | 1527600 | 16:57 | 7:03 | 0:00 | 0:00 | 0:00 | 0:00 | 4.02 | 100 | 100 | 95.11 | 55.94 | 99.42 | 6.63 | 2010-09-26
2021-02-26 | Kass 1 | Kaas | DJM | LS-016 | 2500 | 147012 | 1530100 | 14:39 | 9:21 | 0:00 | 0:00 | 0:00 | 0:00 | 4.03 | 100 | 100 | 95.29 | 56.12 | 104.17 | 6.94 | 2010-09-26
2021-02-27 | Kass 1 | Kaas | DJM | LS-016 | 3088 | 150100 | 1533180 | 19:28 | 3:58 | 0:00 | 0:30 | 0:03 | 0:00 | 5.26 | 97.92 | 99.76 | 95.46 | 56.3 | 131.8 | 8.58 | 2010-09-26
2021-02-28 | Kass 1 | Kaas | DJM | LS-016 | 3416 | 153516 | 1536600 | 15:25 | 5:12 | 0:00 | 3:16 | 0:07 | 0:00 | 5.02 | 86.39 | 99.48 | 95.6 | 56.48 | 165.83 | 9.49 | 2010-09-26
2021-03-01 | Kass 1 | Kaas | DJM | LS-016 | 2230 | 2230 | 1538830 | 12:52 | 9:25 | 0:00 | 1:43 | 0:00 | 0:00 | 4.1 | 92.85 | 100 | 100 | 56.66 | 100.09 | 6.19 | 2010-09-26
2021-03-02 | Kass 1 | Kaas | DJM | LS-016 | 4596 | 6826 | 1543430 | 14:12 | 0:26 | 0:00 | 9:22 | 0:00 | 0:00 | 0 | 60.97 | 100 | 100 | 56.83 | 314.15 | 12.77 | 2010-09-26
2021-03-03 | Kass 1 | Kaas | DJM | LS-016 | 3012 | 9838 | 1546440 | 15:19 | 0:50 | 0:00 | 7:51 | 0:00 | 0:00 | 5.44 | 67.29 | 100 | 100 | 57.01 | 186.5 | 8.37 | 2010-09-26
2021-03-04 | Kass 1 | Kaas | DJM | LS-016 | 2024 | 11862 | 1548460 | 11:17 | 5:45 | 0:00 | 6:58 | 0:00 | 0:00 | 4.27 | 70.97 | 100 | 100 | 57.18 | 118.85 | 5.62 | 2010-09-26
2021-03-05 | Kass 1 | Kaas | DJM | LS-016 | 1854 | 13716 | 1550320 | 15:59 | 8:01 | 0:00 | 0:00 | 0:00 | 0:00 | 3.77 | 100 | 100 | 100 | 57.35 | 77.25 | 5.15 | 2010-09-26
2021-03-06 | Kass 1 | Kaas | DJM | LS-016 | 1628 | 15344 | 1551940 | 7:31 | 14:05 | 0:00 | 2:24 | 0:00 | 0:00 | 2.93 | 90 | 100 | 100 | 57.53 | 75.37 | 4.52 | 2010-09-26
2021-03-07 | Kass 1 | Kaas | DJM | LS-016 | 3380 | 18724 | 1555320 | 17:31 | 6:29 | 0:00 | 0:00 | 0:00 | 0:00 | 4.73 | 100 | 100 | 100 | 57.7 | 140.83 | 9.39 | 2010-09-26
2021-03-08 | Kass 1 | Kaas | DJM | LS-016 | 1696 | 20420 | 1557020 | 9:14 | 8:36 | 0:00 | 4:11 | 2:00 | 0:00 | 3.87 | 82.57 | 91.68 | 98.96 | 57.83 | 95.17 | 4.71 | 2010-09-26
2021-03-09 | Kass 1 | Kaas | DJM | LS-016 | 2938 | 23358 | 1559960 | 18:31 | 4:59 | 0:00 | 0:28 | 0:01 | 0:00 | 4.65 | 98.06 | 99.92 | 99.07 | 58 | 125.02 | 8.16 | 2010-09-26
2021-03-10 | Kass 1 | Kaas | DJM | LS-016 | 64 | 23422 | 1560020 | 14:48 | 8:56 | 0:00 | 0:00 | 0:16 | 0:00 | 0 | 100 | 98.92 | 99.05 | 58.16 | 2.7 | 0.18 | 2010-09-26
2021-03-11 | Kass 1 | Kaas | DJM | LS-016 | 2252 | 25674 | 1562270 | 16:56 | 4:44 | 0:00 | 2:20 | 0:00 | 0:00 | 4.35 | 90.28 | 100 | 99.14 | 58.32 | 103.92 | 6.26 | 2010-09-26
2021-03-12 | Kass 1 | Kaas | DJM | LS-016 | 1222 | 26896 | 1563500 | 10:58 | 5:48 | 0:00 | 7:14 | 0:00 | 0:00 | 3.79 | 69.86 | 100 | 99.21 | 58.49 | 72.87 | 3.39 | 2010-09-26
2021-03-13 | Kass 1 | Kaas | DJM | LS-016 | 6170 | 33066 | 1569670 | 14:06 | 9:54 | 0:00 | 0:00 | 0:00 | 0:00 | 4.85 | 100 | 100 | 99.27 | 58.65 | 257.08 | 17.14 | 2010-09-26
2021-03-14 | Kass 1 | Kaas | DJM | LS-016 | 1064 | 34130 | 1570730 | 14:10 | 9:50 | 0:00 | 0:00 | 0:00 | 0:00 | 3.44 | 100 | 100 | 99.32 | 58.81 | 44.33 | 2.96 | 2010-09-26
2021-03-15 | Kass 1 | Kaas | DJM | LS-016 | 1240 | 35370 | 1571970 | 13:54 | 9:53 | 0:00 | 0:00 | 0:13 | 0:00 | 3.49 | 100 | 99.09 | 99.31 | 58.97 | 52.17 | 3.44 | 2010-09-26
2021-03-16 | Kass 1 | Kaas | DJM | LS-016 | 2402 | 37772 | 1574370 | 19:14 | 4:33 | 0:00 | 0:13 | 0:00 | 0:00 | 4.48 | 99.1 | 100 | 99.35 | 59.13 | 101.01 | 6.67 | 2010-09-26
2021-03-17 | Kass 1 | Kaas | DJM | LS-016 | 2006 | 39778 | 1576380 | 17:54 | 6:06 | 0:00 | 0:00 | 0:00 | 0:00 | 4.18 | 100 | 100 | 99.39 | 59.28 | 83.58 | 5.57 | 2010-09-26
2021-03-18 | Kass 1 | Kaas | DJM | LS-016 | 3120 | 42898 | 1579500 | 18:05 | 5:55 | 0:00 | 0:00 | 0:00 | 0:00 | 4.41 | 100 | 100 | 99.42 | 59.44 | 130 | 8.67 | 2010-09-26
2021-03-19 | Kass 1 | Kaas | DJM | LS-016 | 0 | 42898 | 1579500 | 0:00 | 22:06 | 0:00 | 1:54 | 0:00 | 0:00 | 0 | 92.08 | 100 | 99.45 | 59.59 | 0 | 0 | 2010-09-26
2021-03-20 | Kass 1 | Kaas | DJM | LS-016 | 2632 | 45530 | 1582130 | 9:39 | 2:07 | 0:00 | 12:12 | 0:02 | 0:00 | 5.2 | 49.17 | 99.83 | 99.47 | 59.75 | 224 | 7.31 | 2010-09-26
2021-03-21 | Kass 1 | Kaas | DJM | LS-016 | 3070 | 48600 | 1585200 | 15:26 | 8:34 | 0:00 | 0:00 | 0:00 | 0:00 | 4.37 | 100 | 100 | 99.5 | 59.9 | 127.92 | 8.53 | 2010-09-26
2021-03-22 | Kass 1 | Kaas | DJM | LS-016 | 3652 | 52252 | 1588850 | 17:04 | 6:56 | 0:00 | 0:00 | 0:00 | 0:00 | 4.65 | 100 | 100 | 99.52 | 60.05 | 152.17 | 10.14 | 2010-09-26
2021-03-23 | Kass 1 | Kaas | DJM | LS-016 | 5742 | 57994 | 1594590 | 16:29 | 0:35 | 3:08 | 3:48 | 0:00 | 0:00 | 6.48 | 84.17 | 86.94 | 98.97 | 60.15 | 336.38 | 15.95 | 2010-09-26 | HT maintenance work(1) | HT maintenance work completed(1)
2021-03-24 | Kass 1 | Kaas | DJM | LS-016 | 9824 | 67818 | 1604420 | 20:31 | 2:57 | 0:00 | 0:28 | 0:03 | 0:00 | 6.93 | 98.06 | 99.77 | 99.01 | 60.3 | 418.58 | 27.29 | 2010-09-26
2021-03-25 | Kass 1 | Kaas | DJM | LS-016 | 6556 | 74374 | 1610970 | 20:27 | 3:33 | 0:00 | 0:00 | 0:00 | 0:00 | 5.63 | 100 | 100 | 99.05 | 60.45 | 273.17 | 18.21 | 2010-09-26
2021-03-26 | Kass 1 | Kaas | DJM | LS-016 | 8066 | 82440 | 1619040 | 19:15 | 4:41 | 0:00 | 0:00 | 0:04 | 0:00 | 6.11 | 100 | 99.73 | 99.07 | 60.59 | 337.07 | 22.41 | 2010-09-26
2021-03-27 | Kass 1 | Kaas | DJM | LS-016 | 7800 | 90240 | 1626840 | 17:32 | 6:28 | 0:00 | 0:00 | 0:00 | 0:00 | 5.8 | 100 | 100 | 99.11 | 60.74 | 325 | 21.67 | 2010-09-26
2021-03-28 | Kass 1 | Kaas | DJM | LS-016 | 4214 | 94454 | 1631050 | 17:19 | 6:37 | 0:00 | 0:00 | 0:04 | 0:00 | 4.94 | 100 | 99.72 | 99.13 | 60.88 | 176.17 | 11.71 | 2010-09-26
2021-03-29 | Kass 1 | Kaas | DJM | LS-016 | 3472 | 97926 | 1634530 | 17:51 | 0:26 | 3:06 | 0:00 | 2:37 | 0:00 | 5.04 | 100 | 76.2 | 98.34 | 60.94 | 189.93 | 9.64 | 2010-09-26 | Half yearly maintenance work(1) | Half yearly maintenance work completed(1)
2021-03-30 | Kass 1 | Kaas | DJM | LS-016 | 6506 | 104432 | 1641030 | 24:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 5.87 | 100 | 100 | 98.39 | 61.08 | 271.08 | 18.07 | 2010-09-26
2021-03-31 | Kass 1 | Kaas | DJM | LS-016 | 7536 | 111968 | 1648570 | 22:44 | 1:16 | 0:00 | 0:00 | 0:00 | 0:00 | 6.21 | 100 | 100 | 98.45 | 61.23 | 314 | 20.93 | 2010-09-26
2021-04-01 | Kass 1 | Kaas | DJM | LS-016 | 4998 | 4998 | 1653570 | 20:09 | 3:51 | 0:00 | 0:00 | 0:00 | 0:00 | 5.07 | 100 | 100 | 100 | 61.37 | 208.25 | 13.88 | 2010-09-26
2021-04-02 | Kass 1 | Kaas | DJM | LS-016 | 7804 | 12802 | 1661370 | 11:47 | 0:01 | 0:00 | 12:12 | 0:00 | 0:00 | 6.01 | 49.17 | 100 | 100 | 61.51 | 661.36 | 21.68 | 2010-09-26
2021-04-03 | Kass 1 | Kaas | DJM | LS-016 | 3326 | 16128 | 1664700 | 14:46 | 9:14 | 0:00 | 0:00 | 0:00 | 0:00 | 4.06 | 100 | 100 | 100 | 61.65 | 138.58 | 9.24 | 2010-09-26
2021-04-04 | Kass 1 | Kaas | DJM | LS-016 | 4178 | 20306 | 1668870 | 19:18 | 3:46 | 0:00 | 0:00 | 0:56 | 0:00 | 4.95 | 100 | 96.12 | 99.03 | 61.77 | 181.1 | 11.61 | 2010-09-26
2021-04-05 | Kass 1 | Kaas | DJM | LS-016 | 3850 | 24156 | 1672720 | 20:48 | 3:12 | 0:00 | 0:00 | 0:00 | 0:00 | 4.95 | 100 | 100 | 99.22 | 61.91 | 160.42 | 10.69 | 2010-09-26
2021-04-06 | Kass 1 | Kaas | DJM | LS-016 | 5386 | 29542 | 1678110 | 18:33 | 5:27 | 0:00 | 0:00 | 0:00 | 0:00 | 5.32 | 100 | 100 | 99.35 | 62.04 | 224.42 | 14.96 | 2010-09-26
2021-04-07 | Kass 1 | Kaas | DJM | LS-016 | 3078 | 32620 | 1681190 | 15:28 | 7:32 | 0:00 | 1:00 | 0:00 | 0:00 | 4.3 | 95.83 | 100 | 99.45 | 62.18 | 133.83 | 8.55 | 2010-09-26
2021-04-08 | Kass 1 | Kaas | DJM | LS-016 | 0 | 32620 | 1681190 | 0:00 | 21:32 | 0:00 | 2:27 | 0:01 | 0:00 | 0 | 89.79 | 99.95 | 99.51 | 62.31 | 0 | 0 | 2010-09-26
2021-04-09 | Kass 1 | Kaas | DJM | LS-016 | 1834 | 34454 | 1683020 | 14:23 | 9:37 | 0:00 | 0:00 | 0:00 | 0:00 | 3.78 | 100 | 100 | 99.56 | 62.44 | 76.42 | 5.09 | 2010-09-26
2021-04-10 | Kass 1 | Kaas | DJM | LS-016 | 0 | 34454 | 1683020 | 0:00 | 18:03 | 0:00 | 5:50 | 0:07 | 0:00 | 0 | 75.69 | 99.5 | 99.56 | 62.58 | 0 | 0 | 2010-09-26
2021-04-11 | Kass 1 | Kaas | DJM | LS-016 | 0 | 34454 | 1683020 | 0:00 | 16:46 | 0:00 | 7:14 | 0:00 | 0:00 | 0 | 69.86 | 100 | 99.6 | 62.71 | 0 | 0 | 2010-09-26
2021-04-12 | Kass 1 | Kaas | DJM | LS-016 | 0 | 34454 | 1683020 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0 | 100 | 100 | 99.63 | 62.84 | 0 | 0 | 2010-09-26
2021-04-13 | Kass 1 | Kaas | DJM | LS-016 | 0 | 34454 | 1683020 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0 | 100 | 100 | 99.66 | 62.97 | 0 | 0 | 2010-09-26
2021-04-14 | Kass 1 | Kaas | DJM | LS-016 | 0 | 34454 | 1683020 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0 | 100 | 100 | 99.68 | 63.1 | 0 | 0 | 2010-09-26
2021-04-15 | Kass 1 | Kaas | DJM | LS-016 | 0 | 34454 | 1683020 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0 | 100 | 100 | 99.71 | 63.22 | 0 | 0 | 2010-09-26
2021-04-16 | Kass 1 | Kaas | DJM | LS-016 | 0 | 34454 | 1683020 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0 | 100 | 100 | 99.72 | 63.35 | 0 | 0 | 2010-09-26
2021-04-17 | Kass 1 | Kaas | DJM | LS-016 | 0 | 34454 | 1683020 | 0:00 | 0:00 | 0:00 | 2:54 | 0:00 | 0:00 | 0 | 87.92 | 100 | 99.74 | 63.48 | 0 | 0 | 2010-09-26
2021-04-18 | Kass 1 | Kaas | DJM | LS-016 | 0 | 34454 | 1683020 | 0:00 | 0:00 | 0:00 | 24:00 | 0:00 | 0:00 | 0 | 0 | 100 | 99.75 | 63.6 | 0 | 0 | 2010-09-26 |  |  |  | Transformer failure
2021-04-19 | Kass 1 | Kaas | DJM | LS-016 | 0 | 34454 | 1683020 | 0:00 | 0:00 | 0:00 | 24:00 | 0:00 | 0:00 | 0 | 0 | 100 | 99.77 | 63.72 | 0 | 0 | 2010-09-26
2021-04-20 | Kass 1 | Kaas | DJM | LS-016 | 0 | 34454 | 1683020 | 0:00 | 0:00 | 0:00 | 24:00 | 0:00 | 0:00 | 0 | 0 | 100 | 99.78 | 63.85 | 0 | 0 | 2010-09-26 |  |  |  | T/F Failure
2021-04-21 | Kass 1 | Kaas | DJM | LS-016 | 0 | 34454 | 1683020 | 0:00 | 0:00 | 0:00 | 24:00 | 0:00 | 0:00 | 0 | 0 | 100 | 99.79 | 63.97 | 0 | 0 | 2010-09-26 |  |  |  | T/F FAILURE
2021-04-22 | Kass 1 | Kaas | DJM | LS-016 | 0 | 34454 | 1683020 | 0:00 | 24:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0 | 100 | 100 | 99.8 | 64.09 | 0 | 0 | 2010-09-26
2021-04-23 | Kass 1 | Kaas | DJM | LS-016 | 0 | 34454 | 1683020 | 0:00 | 0:00 | 0:00 | 24:00 | 0:00 | 0:00 | 0 | 0 | 100 | 99.81 | 64.21 | 0 | 0 | 2010-09-26
2021-04-24 | Kass 1 | Kaas | DJM | LS-016 | 0 | 34454 | 1683020 | 0:00 | 0:00 | 0:00 | 24:00 | 0:00 | 0:00 | 0 | 0 | 100 | 99.82 | 64.33 | 0 | 0 | 2010-09-26 |  |  |  | T/F Failure
2021-04-25 | Kass 1 | Kaas | DJM | LS-016 | 0 | 34454 | 1683020 | 0:00 | 0:00 | 0:00 | 24:00 | 0:00 | 0:00 | 0 | 0 | 100 | 99.82 | 64.45 | 0 | 0 | 2010-09-26 |  |  |  | T/F FAILURE
2021-04-26 | Kass 1 | Kaas | DJM | LS-016 | 0 | 34454 | 1683020 | 0:00 | 0:00 | 0:00 | 24:00 | 0:00 | 0:00 | 0 | 0 | 100 | 99.83 | 64.57 | 0 | 0 | 2010-09-26 |  |  |  | 33KV/690V T/F Failure
2021-04-27 | Kass 1 | Kaas | DJM | LS-016 | 0 | 34454 | 1683020 | 0:00 | 0:00 | 0:00 | 24:00 | 0:00 | 0:00 | 0 | 0 | 100 | 99.84 | 64.69 | 0 | 0 | 2010-09-26 |  |  |  | 33KV/690V T/F Failure
2021-04-28 | Kass 1 | Kaas | DJM | LS-016 | 0 | 34454 | 1683020 | 0:00 | 0:00 | 0:00 | 24:00 | 0:00 | 0:00 | 0 | 0 | 100 | 99.84 | 64.81 | 0 | 0 | 2010-09-26
2021-04-29 | Kass 1 | Kaas | DJM | LS-016 | 0 | 34454 | 1683020 | 0:00 | 0:00 | 0:00 | 24:00 | 0:00 | 0:00 | 0 | 0 | 100 | 99.85 | 64.92 | 0 | 0 | 2010-09-26 |  |  |  | 33KV/690V T/F failure
2021-04-30 | Kass 1 | Kaas | DJM | LS-016 | 0 | 34454 | 1683020 | 0:00 | 0:00 | 0:00 | 24:00 | 0:00 | 0:00 | 0 | 0 | 100 | 99.85 | 65.04 | 0 | 0 | 2010-09-26 |  |  |  | 33kv / 690V T/F Failure
2021-05-01 | Kass 1 | Kaas | DJM | LS-016 | 0 | 0 | 1683020 | 0:00 | 0:00 | 0:00 | 24:00 | 0:00 | 0:00 | 0 | 0 | 100 | 100 | 65.15 | 0 | 0 | 2010-09-26 |  |  |  | 33kv / 690V T/F Failure
2021-05-02 | Kass 1 | Kaas | DJM | LS-016 | 0 | 0 | 1683020 | 0:00 | 0:00 | 0:00 | 24:00 | 0:00 | 0:00 | 0 | 0 | 100 | 100 | 65.27 | 0 | 0 | 2010-09-26 |  |  |  | 33 kv / 690 v T/F Failure
2021-05-03 | Kass 1 | Kaas | DJM | LS-016 | 0 | 0 | 1683020 | 0:00 | 0:00 | 0:00 | 24:00 | 0:00 | 0:00 | 0 | 0 | 100 | 100 | 65.38 | 0 | 0 | 2010-09-26 |  |  |  | 33KV / 690V T/F Failure
2021-05-04 | Kass 1 | Kaas | DJM | LS-016 | 0 | 0 | 1683020 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0 | 100 | 100 | 100 | 65.49 | 0 | 0 | 2010-09-26
2021-05-05 | Kass 1 | Kaas | DJM | LS-016 | 0 | 0 | 1683020 | 0:00 | 0:00 | 0:00 | 24:00 | 0:00 | 0:00 | 0 | 0 | 100 | 100 | 65.6 | 0 | 0 | 2010-09-26 |  |  |  | 33 kv / 690 v T/F Failure
2021-05-06 | Kass 1 | Kaas | DJM | LS-016 | 0 | 0 | 1683020 | 0:00 | 0:00 | 8:06 | 1:05 | 0:00 | 0:00 | 0 | 95.49 | 66.25 | 94.38 | 65.61 | 0 | 0 | 2010-09-26 | Half yearly mechanical maintenance(3),Half yearly maintenance(1) | Half yearly maintenance completed,Half yearly maintenance completed(1)
2021-05-07 | Kass 1 | Kaas | DJM | LS-016 | 0 | 0 | 1683020 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0 | 100 | 100 | 95.18 | 65.72 | 0 | 0 | 2010-09-26 |  |  |  | 33 kv / 690 v T/F Failure
2021-05-08 | Kass 1 | Kaas | DJM | LS-016 | 0 | 0 | 1683020 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0 | 100 | 100 | 95.78 | 65.83 | 0 | 0 | 2010-09-26 |  |  |  | 33 kv / 690 v T/F Failure
2021-05-09 | Kass 1 | Kaas | DJM | LS-016 | 2638 | 2638 | 1685660 | 18:08 | 5:52 | 0:00 | 0:00 | 0:00 | 0:00 | 4.19 | 100 | 100 | 96.25 | 65.93 | 109.92 | 7.33 | 2010-09-26
2021-05-10 | Kass 1 | Kaas | DJM | LS-016 | 2722 | 5360 | 1688380 | 12:01 | 11:11 | 0:00 | 0:48 | 0:00 | 0:00 | 4.39 | 96.67 | 100 | 96.63 | 66.04 | 117.33 | 7.56 | 2010-09-26
2021-05-11 | Kass 1 | Kaas | DJM | LS-016 | 6250 | 11610 | 1694630 | 24:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 6.06 | 100 | 100 | 96.93 | 66.15 | 260.42 | 17.36 | 2010-09-26
2021-05-12 | Kass 1 | Kaas | DJM | LS-016 | 5334 | 16944 | 1699970 | 22:02 | 1:58 | 0:00 | 0:00 | 0:00 | 0:00 | 5.54 | 100 | 100 | 97.19 | 66.26 | 222.25 | 14.82 | 2010-09-26
2021-05-13 | Kass 1 | Kaas | DJM | LS-016 | 0 | 16944 | 1699970 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0 | 100 | 100 | 97.4 | 66.36 | 0 | 0 | 2010-09-26
2021-05-14 | Kass 1 | Kaas | DJM | LS-016 | 0 | 16944 | 1699970 | 0:00 | 0:00 | 0:00 | 6:40 | 0:00 | 0:00 | 0 | 72.22 | 100 | 97.59 | 66.47 | 0 | 0 | 2010-09-26
2021-05-15 | Kass 1 | Kaas | DJM | LS-016 | 0 | 16944 | 1699970 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0 | 100 | 100 | 97.75 | 66.58 | 0 | 0 | 2010-09-26
2021-05-16 | Kass 1 | Kaas | DJM | LS-016 | 0 | 16944 | 1699970 | 0:00 | 0:00 | 7:26 | 0:00 | 0:00 | 0:00 | 0 | 100 | 69.03 | 95.95 | 66.58 | 0 | 0 | 2010-09-26 | Half-yearly Electrical maintenance work(1) | Half-yearly Electrical maintenance work completed(1)
2021-05-17 | Kass 1 | Kaas | DJM | LS-016 | 0 | 16944 | 1699970 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0 | 100 | 100 | 96.19 | 66.69 | 0 | 0 | 2010-09-26
2021-05-18 | Kass 1 | Kaas | DJM | LS-016 | 0 | 16944 | 1699970 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0 | 100 | 100 | 96.4 | 66.79 | 0 | 0 | 2010-09-26
2021-05-19 | Kass 1 | Kaas | DJM | LS-016 | 7848 | 24792 | 1707810 | 21:22 | 0:11 | 0:00 | 0:00 | 2:27 | 0:00 | 7 | 100 | 89.79 | 96.06 | 66.86 | 364.18 | 21.8 | 2010-09-26
2021-05-20 | Kass 1 | Kaas | DJM | LS-016 | 3942 | 28734 | 1711760 | 19:46 | 3:49 | 0:00 | 0:00 | 0:25 | 0:00 | 5 | 100 | 98.26 | 96.17 | 66.96 | 167.18 | 10.95 | 2010-09-26
2021-05-21 | Kass 1 | Kaas | DJM | LS-016 | 3202 | 31936 | 1714960 | 24:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 4.6 | 100 | 100 | 96.35 | 67.06 | 133.42 | 8.89 | 2010-09-26
2021-05-22 | Kass 1 | Kaas | DJM | LS-016 | 7442 | 39378 | 1722400 | 24:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 6.2 | 100 | 100 | 96.52 | 67.16 | 310.08 | 20.67 | 2010-09-26
2021-05-23 | Kass 1 | Kaas | DJM | LS-016 | 5590 | 44968 | 1727990 | 20:38 | 3:22 | 0:00 | 0:00 | 0:00 | 0:00 | 5.2 | 100 | 100 | 96.67 | 67.26 | 232.92 | 15.53 | 2010-09-26
2021-05-24 | Kass 1 | Kaas | DJM | LS-016 | 2128 | 47096 | 1730120 | 17:01 | 1:50 | 0:00 | 3:31 | 1:38 | 0:00 | 4.5 | 85.35 | 93.19 | 96.52 | 67.34 | 112.89 | 5.91 | 2010-09-26 |  | Power converter error checking work completed(1)
2021-05-25 | Kass 1 | Kaas | DJM | LS-016 | 3986 | 51082 | 1734100 | 20:38 | 3:22 | 0:00 | 0:00 | 0:00 | 0:00 | 4.6 | 100 | 100 | 96.66 | 67.44 | 166.08 | 11.07 | 2010-09-26
2021-05-26 | Kass 1 | Kaas | DJM | LS-016 | 11904 | 62986 | 1746010 | 19:25 | 0:01 | 0:00 | 4:32 | 0:02 | 0:00 | 8.5 | 81.11 | 99.86 | 96.78 | 67.54 | 612.66 | 33.07 | 2010-09-26
2021-05-27 | Kass 1 | Kaas | DJM | LS-016 | 23574 | 86560 | 1769580 | 21:58 | 0:04 | 0:00 | 1:58 | 0:00 | 0:00 | 10.9 | 91.81 | 100 | 96.9 | 67.64 | 1070.09 | 65.48 | 2010-09-26
2021-05-28 | Kass 1 | Kaas | DJM | LS-016 | 13158 | 99718 | 1782740 | 18:54 | 0:06 | 0:00 | 5:00 | 0:00 | 0:00 | 8.6 | 79.17 | 100 | 97.01 | 67.73 | 692.53 | 36.55 | 2010-09-26
2021-05-29 | Kass 1 | Kaas | DJM | LS-016 | 6748 | 106466 | 1789490 | 24:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 6.2 | 100 | 100 | 97.12 | 67.83 | 281.17 | 18.74 | 2010-09-26
2021-05-30 | Kass 1 | Kaas | DJM | LS-016 | 2622 | 109088 | 1792110 | 16:12 | 7:23 | 0:00 | 0:25 | 0:00 | 0:00 | 4.4 | 98.26 | 100 | 97.21 | 67.93 | 111.2 | 7.28 | 2010-09-26
2021-05-31 | Kass 1 | Kaas | DJM | LS-016 | 1324 | 110412 | 1793430 | 16:49 | 0:06 | 0:00 | 7:05 | 0:00 | 0:00 | 4.2 | 70.49 | 100 | 97.3 | 68.02 | 78.25 | 3.68 | 2010-09-26
2021-01-13 | Kass 4 | Kaas | DJM | LS-019 | 4286 | 46746 | 1477800 | 23:12 | 0:46 | 0:00 | 0:00 | 0:02 | 0:00 | 5.4 | 100 | 99.88 | 99.52 | 98.11 | 178.81 | 11.91 | 2010-09-26
2021-01-14 | Kass 4 | Kaas | DJM | LS-019 | 2498 | 49244 | 1480300 | 16:13 | 5:59 | 0:00 | 0:00 | 1:48 | 0:00 | 4.2 | 100 | 92.5 | 99.02 | 98.08 | 112.62 | 6.94 | 2010-09-26
2021-01-15 | Kass 4 | Kaas | DJM | LS-019 | 946 | 50190 | 1481240 | 14:42 | 9:15 | 0:00 | 0:00 | 0:03 | 0:00 | 3.1 | 100 | 99.78 | 99.07 | 98.09 | 39.53 | 2.63 | 2010-09-26
2021-01-16 | Kass 4 | Kaas | DJM | LS-019 | 474 | 50664 | 1481720 | 8:09 | 15:51 | 0:00 | 0:00 | 0:00 | 0:00 | 2.6 | 100 | 100 | 99.13 | 98.1 | 19.75 | 1.32 | 2010-09-26
2021-01-17 | Kass 4 | Kaas | DJM | LS-019 | 596 | 51260 | 1482310 | 6:58 | 16:08 | 0:00 | 0:54 | 0:00 | 0:00 | 2.5 | 96.25 | 100 | 99.18 | 98.11 | 25.8 | 1.66 | 2010-09-26
2021-01-18 | Kass 4 | Kaas | DJM | LS-019 | 898 | 52158 | 1483210 | 11:09 | 12:51 | 0:00 | 0:00 | 0:00 | 0:00 | 2.9 | 100 | 100 | 99.23 | 98.12 | 37.42 | 2.49 | 2010-09-26
2021-01-19 | Kass 4 | Kaas | DJM | LS-019 | 1024 | 53182 | 1484240 | 14:17 | 9:38 | 0:00 | 0:00 | 0:05 | 0:00 | 3.2 | 100 | 99.66 | 99.25 | 98.13 | 42.81 | 2.84 | 2010-09-26
2021-01-20 | Kass 4 | Kaas | DJM | LS-019 | 1156 | 54338 | 1485390 | 13:09 | 10:49 | 0:00 | 0:00 | 0:02 | 0:00 | 3.2 | 100 | 99.87 | 99.28 | 98.14 | 48.23 | 3.21 | 2010-09-26
2021-01-21 | Kass 4 | Kaas | DJM | LS-019 | 1506 | 55844 | 1486900 | 15:04 | 8:56 | 0:00 | 0:00 | 0:00 | 0:00 | 3.3 | 100 | 100 | 99.31 | 98.15 | 62.75 | 4.18 | 2010-09-26
2021-01-22 | Kass 4 | Kaas | DJM | LS-019 | 582 | 56426 | 1487480 | 5:42 | 12:43 | 3:34 | 0:00 | 2:01 | 0:00 | 2.7 | 100 | 76.73 | 98.29 | 98.04 | 31.63 | 1.62 | 2010-09-26 | torqueing work(1) | torqueing work completed(1)
2021-01-23 | Kass 4 | Kaas | DJM | LS-019 | 370 | 56796 | 1487850 | 8:24 | 15:36 | 0:00 | 0:00 | 0:00 | 0:00 | 2.4 | 100 | 100 | 98.36 | 98.05 | 15.42 | 1.03 | 2010-09-26
2021-01-24 | Kass 4 | Kaas | DJM | LS-019 | 826 | 57622 | 1488680 | 9:57 | 13:32 | 0:00 | 0:00 | 0:31 | 0:00 | 2.7 | 100 | 97.87 | 98.34 | 98.05 | 35.18 | 2.29 | 2010-09-26
2021-01-25 | Kass 4 | Kaas | DJM | LS-019 | 1704 | 59326 | 1490380 | 18:09 | 5:51 | 0:00 | 0:00 | 0:00 | 0:00 | 3.9 | 100 | 100 | 98.41 | 98.06 | 71 | 4.73 | 2010-09-26
2021-01-26 | Kass 4 | Kaas | DJM | LS-019 | 2036 | 61362 | 1492420 | 17:14 | 6:46 | 0:00 | 0:00 | 0:00 | 0:00 | 3.9 | 100 | 100 | 98.47 | 98.07 | 84.83 | 5.66 | 2010-09-26
2021-01-27 | Kass 4 | Kaas | DJM | LS-019 | 1702 | 63064 | 1494120 | 14:39 | 9:14 | 0:00 | 0:00 | 0:06 | 0:00 | 3.4 | 100 | 99.55 | 98.51 | 98.08 | 71.27 | 4.73 | 2010-09-26
2021-01-28 | Kass 4 | Kaas | DJM | LS-019 | 1364 | 64428 | 1495480 | 11:04 | 12:56 | 0:00 | 0:00 | 0:00 | 0:00 | 3.1 | 100 | 100 | 98.56 | 98.08 | 56.83 | 3.79 | 2010-09-26
2021-01-29 | Kass 4 | Kaas | DJM | LS-019 | 1218 | 65646 | 1496700 | 15:13 | 8:47 | 0:00 | 0:00 | 0:00 | 0:00 | 3.5 | 100 | 100 | 98.61 | 98.09 | 50.75 | 3.38 | 2010-09-26
2021-01-30 | Kass 4 | Kaas | DJM | LS-019 | 794 | 66440 | 1497490 | 13:56 | 10:04 | 0:00 | 0:00 | 0:00 | 0:00 | 3.1 | 100 | 100 | 98.66 | 98.1 | 33.08 | 2.21 | 2010-09-26
2021-01-31 | Kass 4 | Kaas | DJM | LS-019 | 1652 | 68092 | 1499150 | 18:16 | 5:44 | 0:00 | 0:00 | 0:00 | 0:00 | 3.8 | 100 | 100 | 98.7 | 98.11 | 68.83 | 4.59 | 2010-09-26
2021-02-01 | Kass 4 | Kaas | DJM | LS-019 | 4624 | 4624 | 1503770 | 23:43 | 0:17 | 0:00 | 0:00 | 0:00 | 0:00 | 5.56 | 100 | 100 | 100 | 98.12 | 192.67 | 12.84 | 2010-09-26
2021-02-02 | Kass 4 | Kaas | DJM | LS-019 | 7222 | 11846 | 1510990 | 16:48 | 0:12 | 5:14 | 1:46 | 0:00 | 0:00 | 7.02 | 92.64 | 78.19 | 89.1 | 98.03 | 424.82 | 20.06 | 2010-09-26 | HT maintenance work(1) | HT maintenance work completed(1)
2021-02-03 | Kass 4 | Kaas | DJM | LS-019 | 3576 | 15422 | 1514570 | 19:43 | 0:55 | 3:22 | 0:00 | 0:00 | 0:00 | 5.35 | 100 | 85.97 | 88.06 | 97.97 | 173.34 | 9.93 | 2010-09-26 | HT yard maintenance(1) | HT yard maintenance work completed(1)
2021-02-04 | Kass 4 | Kaas | DJM | LS-019 | 1862 | 17284 | 1516430 | 15:56 | 8:04 | 0:00 | 0:00 | 0:00 | 0:00 | 3.91 | 100 | 100 | 91.04 | 97.98 | 77.58 | 5.17 | 2010-09-26
2021-02-05 | Kass 4 | Kaas | DJM | LS-019 | 1888 | 19172 | 1518320 | 9:32 | 10:41 | 0:00 | 3:47 | 0:00 | 0:00 | 3.28 | 84.24 | 100 | 92.83 | 97.99 | 93.37 | 5.24 | 2010-09-26
2021-02-06 | Kass 4 | Kaas | DJM | LS-019 | 2232 | 21404 | 1520550 | 10:09 | 6:07 | 0:00 | 7:44 | 0:00 | 0:00 | 5.55 | 67.78 | 100 | 94.03 | 98 | 137.19 | 6.2 | 2010-09-26
2021-02-07 | Kass 4 | Kaas | DJM | LS-019 | 4728 | 26132 | 1525280 | 11:26 | 12:20 | 0:00 | 0:00 | 0:14 | 0:00 | 7.32 | 100 | 99.02 | 94.74 | 98.01 | 199.07 | 13.13 | 2010-09-26
2021-02-08 | Kass 4 | Kaas | DJM | LS-019 | 10088 | 36220 | 1535370 | 18:21 | 1:08 | 0:00 | 3:16 | 1:15 | 0:00 | 8.54 | 86.39 | 94.82 | 94.75 | 97.99 | 517.86 | 28.02 | 2010-09-26
2021-02-09 | Kass 4 | Kaas | DJM | LS-019 | 518 | 36738 | 1535880 | 5:05 | 7:15 | 0:00 | 11:40 | 0:00 | 0:00 | 4.82 | 51.39 | 100 | 95.33 | 98 | 42.01 | 1.44 | 2010-09-26
2021-02-10 | Kass 4 | Kaas | DJM | LS-019 | 918 | 37656 | 1536800 | 11:54 | 11:38 | 0:00 | 0:00 | 0:28 | 0:00 | 3.08 | 100 | 98.07 | 95.61 | 98 | 39.01 | 2.55 | 2010-09-26
2021-02-11 | Kass 4 | Kaas | DJM | LS-019 | 1360 | 39016 | 1538160 | 11:08 | 12:52 | 0:00 | 0:00 | 0:00 | 0:00 | 3.22 | 100 | 100 | 96.01 | 98.01 | 56.67 | 3.78 | 2010-09-26
2021-02-12 | Kass 4 | Kaas | DJM | LS-019 | 242 | 39258 | 1538400 | 4:04 | 19:39 | 0:00 | 0:00 | 0:17 | 0:00 | 2.2 | 100 | 98.85 | 96.24 | 98.01 | 10.2 | 0.67 | 2010-09-26
2021-02-13 | Kass 4 | Kaas | DJM | LS-019 | 948 | 40206 | 1539350 | 13:59 | 7:41 | 0:00 | 2:00 | 0:20 | 0:00 | 3.6 | 91.67 | 98.61 | 96.43 | 98.02 | 43.79 | 2.63 | 2010-09-26
2021-02-14 | Kass 4 | Kaas | DJM | LS-019 | 1150 | 41356 | 1540500 | 11:54 | 8:51 | 0:00 | 3:15 | 0:00 | 0:00 | 3.24 | 86.46 | 100 | 96.68 | 98.02 | 55.42 | 3.19 | 2010-09-26
2021-02-15 | Kass 4 | Kaas | DJM | LS-019 | 1596 | 42952 | 1542100 | 12:22 | 9:32 | 0:00 | 1:54 | 0:12 | 0:00 | 3.45 | 92.08 | 99.15 | 96.85 | 98.03 | 72.94 | 4.43 | 2010-09-26
2021-02-16 | Kass 4 | Kaas | DJM | LS-019 | 2436 | 45388 | 1544530 | 14:58 | 8:58 | 0:00 | 0:00 | 0:04 | 0:00 | 4.15 | 100 | 99.71 | 97.02 | 98.04 | 101.84 | 6.77 | 2010-09-26
2021-02-17 | Kass 4 | Kaas | DJM | LS-019 | 1670 | 47058 | 1546200 | 13:31 | 10:10 | 0:00 | 0:00 | 0:19 | 0:00 | 3.65 | 100 | 98.71 | 97.12 | 98.04 | 70.52 | 4.64 | 2010-09-26
2021-02-18 | Kass 4 | Kaas | DJM | LS-019 | 3028 | 50086 | 1549230 | 7:13 | 1:46 | 0:00 | 0:59 | 14:02 | 0:00 | 5.66 | 95.9 | 41.53 | 94.04 | 97.8 | 337.19 | 8.41 | 2010-09-26 |  | During running time this error was came. We check and found 1F1 MCB in Hub and 400V supply MCB pitch system in nacelle tripped condition. Already we checked this error and interchange the pitch inverter in blade1 & 2. Again same problem occurred in blade1. So we conformed problem was in pitch motor. Spare pitch motor was not available. So already failure pitch motor serviced in site and replaced the pitch motor in blade1. Then checking time again 1F1 MCB tripped and arc came in pitch inverter. So check and found pitch inverter was failure. Spare was not available. So removed from LS-90 and replaced. Then blade pitching found ok and restart the machine.(1)
2021-02-19 | Kass 4 | Kaas | DJM | LS-019 | 18944 | 69030 | 1568180 | 22:53 | 1:01 | 0:00 | 0:00 | 0:05 | 0:00 | 9.75 | 100 | 99.62 | 94.33 | 97.8 | 792.64 | 52.62 | 2010-09-26
2021-02-20 | Kass 4 | Kaas | DJM | LS-019 | 8462 | 77492 | 1576640 | 14:12 | 2:23 | 0:00 | 7:12 | 0:12 | 0:00 | 8.56 | 70 | 99.15 | 94.57 | 97.81 | 510.37 | 23.51 | 2010-09-26
2021-02-21 | Kass 4 | Kaas | DJM | LS-019 | 15912 | 93404 | 1592550 | 17:47 | 0:39 | 0:00 | 0:00 | 5:34 | 0:00 | 11.37 | 100 | 76.81 | 93.72 | 97.72 | 863.37 | 44.2 | 2010-09-26 |  | Pitch system: Motor temp blade 1 error checking work completed(2)
2021-02-22 | Kass 4 | Kaas | DJM | LS-019 | 10462 | 103866 | 1603010 | 23:32 | 0:05 | 0:00 | 0:00 | 0:23 | 0:00 | 7.48 | 100 | 98.42 | 93.94 | 97.72 | 442.93 | 29.06 | 2010-09-26
2021-02-23 | Kass 4 | Kaas | DJM | LS-019 | 1258 | 105124 | 1604270 | 15:23 | 8:24 | 0:00 | 0:00 | 0:13 | 0:00 | 3.85 | 100 | 99.08 | 94.16 | 97.73 | 52.92 | 3.49 | 2010-09-26
2021-02-24 | Kass 4 | Kaas | DJM | LS-019 | 2880 | 108004 | 1607150 | 13:03 | 6:55 | 4:02 | 0:00 | 0:00 | 0:00 | 3.85 | 100 | 83.19 | 93.7 | 97.67 | 144.22 | 8 | 2010-09-26 | yaw & pitch oil replacement work(1) | HT yard maintenance work completed(1)
2021-02-25 | Kass 4 | Kaas | DJM | LS-019 | 2000 | 110004 | 1609150 | 15:17 | 8:39 | 0:00 | 0:00 | 0:04 | 0:00 | 3.72 | 100 | 99.73 | 93.95 | 97.68 | 83.58 | 5.56 | 2010-09-26
2021-02-26 | Kass 4 | Kaas | DJM | LS-019 | 2174 | 112178 | 1611320 | 16:10 | 7:50 | 0:00 | 0:00 | 0:00 | 0:00 | 3.87 | 100 | 100 | 94.18 | 97.69 | 90.58 | 6.04 | 2010-09-26
2021-02-27 | Kass 4 | Kaas | DJM | LS-019 | 2728 | 114906 | 1614050 | 20:32 | 2:51 | 0:00 | 0:30 | 0:07 | 0:00 | 4.61 | 97.92 | 99.54 | 94.38 | 97.69 | 116.68 | 7.58 | 2010-09-26
2021-02-28 | Kass 4 | Kaas | DJM | LS-019 | 3288 | 118194 | 1617340 | 15:34 | 4:56 | 0:00 | 3:16 | 0:13 | 0:00 | 4.81 | 86.39 | 99.08 | 94.55 | 97.7 | 160.39 | 9.13 | 2010-09-26
2021-03-01 | Kass 4 | Kaas | DJM | LS-019 | 2160 | 2160 | 1619500 | 14:21 | 7:24 | 0:00 | 1:43 | 0:32 | 0:00 | 4.21 | 92.85 | 97.79 | 97.79 | 97.7 | 99.31 | 6 | 2010-09-26
2021-03-02 | Kass 4 | Kaas | DJM | LS-019 | 3884 | 6044 | 1623380 | 7:58 | 5:58 | 0:00 | 9:22 | 0:41 | 0:00 | 5.67 | 60.97 | 97.12 | 97.45 | 97.7 | 278.82 | 10.79 | 2010-09-26
2021-03-03 | Kass 4 | Kaas | DJM | LS-019 | 2978 | 9022 | 1626360 | 14:47 | 0:55 | 0:00 | 7:51 | 0:28 | 0:00 | 5.56 | 67.29 | 98.08 | 97.66 | 97.7 | 189.92 | 8.27 | 2010-09-26
2021-03-04 | Kass 4 | Kaas | DJM | LS-019 | 1786 | 10808 | 1628150 | 10:57 | 5:44 | 0:00 | 6:58 | 0:21 | 0:00 | 4.03 | 70.97 | 98.57 | 97.89 | 97.7 | 107.07 | 4.96 | 2010-09-26
2021-03-05 | Kass 4 | Kaas | DJM | LS-019 | 1732 | 12540 | 1629880 | 16:52 | 6:24 | 0:00 | 0:00 | 0:44 | 0:00 | 3.74 | 100 | 96.93 | 97.7 | 97.7 | 74.49 | 4.81 | 2010-09-26
2021-03-06 | Kass 4 | Kaas | DJM | LS-019 | 1498 | 14038 | 1631380 | 9:39 | 11:55 | 0:00 | 2:24 | 0:02 | 0:00 | 2.99 | 90 | 99.86 | 98.06 | 97.71 | 69.51 | 4.16 | 2010-09-26
2021-03-07 | Kass 4 | Kaas | DJM | LS-019 | 2678 | 16716 | 1634060 | 19:08 | 4:52 | 0:00 | 0:00 | 0:00 | 0:00 | 4.42 | 100 | 100 | 98.34 | 97.72 | 111.58 | 7.44 | 2010-09-26
2021-03-08 | Kass 4 | Kaas | DJM | LS-019 | 1834 | 18550 | 1635890 | 9:36 | 9:53 | 0:00 | 4:11 | 0:20 | 0:00 | 3.63 | 82.57 | 98.58 | 98.37 | 97.72 | 94.2 | 5.09 | 2010-09-26 |  | 93(1)
2021-03-09 | Kass 4 | Kaas | DJM | LS-019 | 2724 | 21274 | 1638610 | 17:49 | 5:27 | 0:00 | 0:28 | 0:16 | 0:00 | 4.48 | 98.06 | 98.9 | 98.43 | 97.73 | 117.06 | 7.57 | 2010-09-26
2021-03-10 | Kass 4 | Kaas | DJM | LS-019 | 70 | 21344 | 1638680 | 14:14 | 9:06 | 0:00 | 0:00 | 0:40 | 0:00 | 0 | 100 | 97.25 | 98.31 | 97.72 | 3 | 0.19 | 2010-09-26 |  | Power converter 1 & 2 checking work completed(1)
2021-03-11 | Kass 4 | Kaas | DJM | LS-019 | 1970 | 23314 | 1640650 | 15:01 | 6:39 | 0:00 | 2:20 | 0:00 | 0:00 | 4.05 | 90.28 | 100 | 98.46 | 97.73 | 90.91 | 5.47 | 2010-09-26
2021-03-12 | Kass 4 | Kaas | DJM | LS-019 | 1500 | 24814 | 1642150 | 11:19 | 5:18 | 0:00 | 7:14 | 0:09 | 0:00 | 3.92 | 69.86 | 99.41 | 98.54 | 97.74 | 90.25 | 4.17 | 2010-09-26
2021-03-13 | Kass 4 | Kaas | DJM | LS-019 | 6256 | 31070 | 1648410 | 13:28 | 10:13 | 0:00 | 0:00 | 0:20 | 0:00 | 4.84 | 100 | 98.63 | 98.55 | 97.74 | 264.3 | 17.38 | 2010-09-26
2021-03-14 | Kass 4 | Kaas | DJM | LS-019 | 876 | 31946 | 1649290 | 10:48 | 13:11 | 0:00 | 0:00 | 0:01 | 0:00 | 3.02 | 100 | 99.94 | 98.65 | 97.75 | 36.53 | 2.43 | 2010-09-26
2021-03-15 | Kass 4 | Kaas | DJM | LS-019 | 1098 | 33044 | 1650380 | 8:52 | 14:52 | 0:00 | 0:00 | 0:16 | 0:00 | 2.97 | 100 | 98.91 | 98.66 | 97.76 | 46.27 | 3.05 | 2010-09-26
2021-03-16 | Kass 4 | Kaas | DJM | LS-019 | 2200 | 35244 | 1652580 | 19:48 | 3:59 | 0:00 | 0:13 | 0:00 | 0:00 | 4.18 | 99.1 | 99.98 | 98.75 | 97.77 | 92.55 | 6.11 | 2010-09-26
2021-03-17 | Kass 4 | Kaas | DJM | LS-019 | 1770 | 37014 | 1654350 | 17:10 | 6:43 | 0:00 | 0:00 | 0:07 | 0:00 | 3.84 | 100 | 99.53 | 98.79 | 97.77 | 74.12 | 4.92 | 2010-09-26
2021-03-18 | Kass 4 | Kaas | DJM | LS-019 | 3592 | 40606 | 1657950 | 17:22 | 6:18 | 0:00 | 0:00 | 0:20 | 0:00 | 4.49 | 100 | 98.62 | 98.78 | 97.78 | 151.75 | 9.98 | 2010-09-26
2021-03-19 | Kass 4 | Kaas | DJM | LS-019 | 0 | 40606 | 1657950 | 0:00 | 21:54 | 0:00 | 1:54 | 0:12 | 0:00 | 0 | 92.08 | 99.14 | 98.8 | 97.78 | 0 | 0 | 2010-09-26
2021-03-20 | Kass 4 | Kaas | DJM | LS-019 | 2328 | 42934 | 1660270 | 9:21 | 2:20 | 0:00 | 12:12 | 0:08 | 0:00 | 5 | 49.17 | 99.48 | 98.84 | 97.79 | 199.49 | 6.47 | 2010-09-26
2021-03-21 | Kass 4 | Kaas | DJM | LS-019 | 2400 | 45334 | 1662670 | 14:37 | 9:09 | 0:00 | 0:00 | 0:14 | 0:00 | 3.96 | 100 | 99.03 | 98.85 | 97.79 | 100.97 | 6.67 | 2010-09-26
2021-03-22 | Kass 4 | Kaas | DJM | LS-019 | 2652 | 47986 | 1665330 | 13:58 | 5:18 | 4:30 | 0:00 | 0:15 | 0:00 | 4.3 | 100 | 80.24 | 98 | 97.73 | 137.77 | 7.37 | 2010-09-26 | HT maintenance work(1) | HT maintenance work completed(1)
2021-03-23 | Kass 4 | Kaas | DJM | LS-019 | 5882 | 53868 | 1671210 | 18:12 | 0:31 | 1:27 | 3:48 | 0:02 | 0:00 | 6.29 | 84.17 | 93.84 | 97.82 | 97.71 | 314.21 | 16.34 | 2010-09-26 | main bearing grease filling work(1) | main bearing grease filling work completed(1)
2021-03-24 | Kass 4 | Kaas | DJM | LS-019 | 8588 | 62456 | 1679800 | 20:25 | 2:50 | 0:00 | 0:28 | 0:17 | 0:00 | 6.54 | 98.06 | 98.8 | 97.86 | 97.71 | 369.69 | 23.86 | 2010-09-26
2021-03-25 | Kass 4 | Kaas | DJM | LS-019 | 6106 | 68562 | 1685900 | 21:00 | 2:59 | 0:00 | 0:00 | 0:02 | 0:00 | 5.47 | 100 | 99.89 | 97.94 | 97.72 | 254.74 | 16.96 | 2010-09-26
2021-03-26 | Kass 4 | Kaas | DJM | LS-019 | 8010 | 76572 | 1693910 | 19:02 | 4:48 | 0:00 | 0:00 | 0:10 | 0:00 | 6 | 100 | 99.29 | 97.99 | 97.73 | 336.27 | 22.25 | 2010-09-26
2021-03-27 | Kass 4 | Kaas | DJM | LS-019 | 6704 | 83276 | 1700620 | 18:54 | 4:56 | 0:00 | 0:00 | 0:09 | 0:00 | 5.55 | 100 | 99.34 | 98.04 | 97.73 | 281.33 | 18.62 | 2010-09-26
2021-03-28 | Kass 4 | Kaas | DJM | LS-019 | 5350 | 88626 | 1705970 | 19:35 | 4:23 | 0:00 | 0:00 | 0:02 | 0:00 | 5.24 | 100 | 99.88 | 98.11 | 97.74 | 223.2 | 14.86 | 2010-09-26
2021-03-29 | Kass 4 | Kaas | DJM | LS-019 | 4624 | 93250 | 1710590 | 22:16 | 1:21 | 0:00 | 0:00 | 0:23 | 0:00 | 5.31 | 100 | 98.41 | 98.12 | 97.75 | 195.77 | 12.84 | 2010-09-26
2021-03-30 | Kass 4 | Kaas | DJM | LS-019 | 6282 | 99532 | 1716870 | 20:42 | 0:22 | 2:56 | 0:00 | 0:00 | 0:00 | 6.01 | 100 | 87.78 | 97.77 | 97.71 | 298.15 | 17.45 | 2010-09-26 | Electrical maintenance work(1) | Electrical maintenance work completed(1)
2021-03-31 | Kass 4 | Kaas | DJM | LS-019 | 7276 | 106808 | 1724150 | 21:29 | 2:11 | 0:00 | 0:00 | 0:19 | 0:00 | 6.08 | 100 | 98.67 | 97.8 | 97.71 | 307.39 | 20.21 | 2010-09-26
2021-04-01 | Kass 4 | Kaas | DJM | LS-019 | 5982 | 5982 | 1730130 | 22:48 | 1:09 | 0:00 | 0:00 | 0:03 | 0:00 | 5.65 | 100 | 99.79 | 99.79 | 97.72 | 249.98 | 16.62 | 2010-09-26
2021-04-02 | Kass 4 | Kaas | DJM | LS-019 | 8374 | 14356 | 1738500 | 11:23 | 0:25 | 0:00 | 12:12 | 0:00 | 0:00 | 6.22 | 49.17 | 100 | 99.89 | 97.73 | 709.66 | 23.26 | 2010-09-26
2021-04-03 | Kass 4 | Kaas | DJM | LS-019 | 4736 | 19092 | 1743240 | 13:44 | 10:16 | 0:00 | 0:00 | 0:00 | 0:00 | 4.38 | 100 | 100 | 99.93 | 97.74 | 197.33 | 13.16 | 2010-09-26
2021-04-04 | Kass 4 | Kaas | DJM | LS-019 | 5126 | 24218 | 1748370 | 21:16 | 2:40 | 0:00 | 0:00 | 0:05 | 0:00 | 5.3 | 100 | 99.66 | 99.86 | 97.74 | 214.3 | 14.24 | 2010-09-26
2021-04-05 | Kass 4 | Kaas | DJM | LS-019 | 4682 | 28900 | 1753050 | 20:23 | 3:37 | 0:00 | 0:00 | 0:00 | 0:00 | 5.3 | 100 | 100 | 99.89 | 97.75 | 195.08 | 13.01 | 2010-09-26
2021-04-06 | Kass 4 | Kaas | DJM | LS-019 | 6046 | 34946 | 1759090 | 20:16 | 3:39 | 0:00 | 0:00 | 0:05 | 0:00 | 5.51 | 100 | 99.66 | 99.85 | 97.76 | 252.76 | 16.79 | 2010-09-26
2021-04-07 | Kass 4 | Kaas | DJM | LS-019 | 2890 | 37836 | 1761980 | 15:28 | 7:27 | 0:00 | 1:00 | 0:05 | 0:00 | 4.2 | 95.83 | 99.65 | 99.82 | 97.76 | 126.2 | 8.03 | 2010-09-26
2021-04-08 | Kass 4 | Kaas | DJM | LS-019 | 0 | 37836 | 1761980 | 0:00 | 21:33 | 0:00 | 2:27 | 0:00 | 0:00 | 0 | 89.79 | 100 | 99.84 | 97.77 | 0 | 0 | 2010-09-26
2021-04-09 | Kass 4 | Kaas | DJM | LS-019 | 1654 | 39490 | 1763640 | 13:47 | 10:12 | 0:00 | 0:00 | 0:01 | 0:00 | 3.62 | 100 | 99.92 | 99.85 | 97.78 | 69 | 4.59 | 2010-09-26
2021-04-10 | Kass 4 | Kaas | DJM | LS-019 | 1306 | 40796 | 1764940 | 11:42 | 6:01 | 0:00 | 5:50 | 0:27 | 0:00 | 3.77 | 75.69 | 98.12 | 99.68 | 97.78 | 73.79 | 3.63 | 2010-09-26
2021-04-11 | Kass 4 | Kaas | DJM | LS-019 | 3388 | 44184 | 1768330 | 9:45 | 7:01 | 0:00 | 7:14 | 0:00 | 0:00 | 4.52 | 69.86 | 100 | 99.71 | 97.79 | 202.03 | 9.41 | 2010-09-26
2021-04-12 | Kass 4 | Kaas | DJM | LS-019 | 5086 | 49270 | 1773420 | 16:06 | 7:36 | 0:00 | 0:00 | 0:18 | 0:00 | 4.61 | 100 | 98.78 | 99.63 | 97.79 | 214.6 | 14.13 | 2010-09-26
2021-04-13 | Kass 4 | Kaas | DJM | LS-019 | 4598 | 53868 | 1778020 | 17:26 | 6:34 | 0:00 | 0:00 | 0:00 | 0:00 | 4.84 | 100 | 100 | 99.66 | 97.8 | 191.58 | 12.77 | 2010-09-26
2021-04-14 | Kass 4 | Kaas | DJM | LS-019 | 976 | 54844 | 1778990 | 8:19 | 13:49 | 0:00 | 1:41 | 0:11 | 0:00 | 2.95 | 92.99 | 99.24 | 99.63 | 97.81 | 44.1 | 2.71 | 2010-09-26
2021-04-15 | Kass 4 | Kaas | DJM | LS-019 | 1438 | 56282 | 1780430 | 14:54 | 8:28 | 0:00 | 0:16 | 0:22 | 0:00 | 3.53 | 98.89 | 98.46 | 99.55 | 97.81 | 61.58 | 3.99 | 2010-09-26
2021-04-16 | Kass 4 | Kaas | DJM | LS-019 | 3726 | 60008 | 1784160 | 17:09 | 6:49 | 0:00 | 0:00 | 0:02 | 0:00 | 4.46 | 100 | 99.85 | 99.57 | 97.81 | 155.57 | 10.35 | 2010-09-26
2021-04-17 | Kass 4 | Kaas | DJM | LS-019 | 978 | 60986 | 1785130 | 10:41 | 10:06 | 0:00 | 2:54 | 0:19 | 0:00 | 3.29 | 87.92 | 98.69 | 99.52 | 97.82 | 47.06 | 2.72 | 2010-09-26
2021-04-18 | Kass 4 | Kaas | DJM | LS-019 | 5428 | 66414 | 1790560 | 20:48 | 3:06 | 0:00 | 0:00 | 0:06 | 0:00 | 5.34 | 100 | 99.59 | 99.52 | 97.82 | 227.11 | 15.08 | 2010-09-26
2021-04-19 | Kass 4 | Kaas | DJM | LS-019 | 5076 | 71490 | 1795640 | 20:11 | 3:18 | 0:00 | 0:00 | 0:31 | 0:00 | 5.17 | 100 | 97.84 | 99.43 | 97.82 | 216.28 | 14.1 | 2010-09-26
2021-04-20 | Kass 4 | Kaas | DJM | LS-019 | 4714 | 76204 | 1800350 | 21:50 | 2:10 | 0:00 | 0:00 | 0:00 | 0:00 | 5.26 | 100 | 100 | 99.46 | 97.83 | 196.42 | 13.09 | 2010-09-26
2021-04-21 | Kass 4 | Kaas | DJM | LS-019 | 3112 | 79316 | 1803460 | 16:27 | 5:01 | 0:00 | 2:26 | 0:05 | 0:00 | 4.54 | 89.86 | 99.64 | 99.47 | 97.84 | 144.95 | 8.64 | 2010-09-26
2021-04-22 | Kass 4 | Kaas | DJM | LS-019 | 3644 | 82960 | 1807110 | 16:42 | 7:18 | 0:00 | 0:00 | 0:00 | 0:00 | 4.56 | 100 | 100 | 99.5 | 97.84 | 151.83 | 10.12 | 2010-09-26
2021-04-23 | Kass 4 | Kaas | DJM | LS-019 | 2414 | 85374 | 1809520 | 11:57 | 3:25 | 0:00 | 8:30 | 0:08 | 0:00 | 4.47 | 64.58 | 99.45 | 99.49 | 97.85 | 157.06 | 6.71 | 2010-09-26
2021-04-24 | Kass 4 | Kaas | DJM | LS-019 | 2230 | 87604 | 1811750 | 14:57 | 9:01 | 0:00 | 0:00 | 0:02 | 0:00 | 3.67 | 100 | 99.88 | 99.51 | 97.86 | 93.03 | 6.19 | 2010-09-26
2021-04-25 | Kass 4 | Kaas | DJM | LS-019 | 3516 | 91120 | 1815270 | 16:06 | 7:44 | 0:00 | 0:00 | 0:10 | 0:00 | 4.37 | 100 | 99.32 | 99.5 | 97.86 | 147.55 | 9.77 | 2010-09-26
2021-04-26 | Kass 4 | Kaas | DJM | LS-019 | 2028 | 93148 | 1817300 | 9:53 | 14:02 | 0:00 | 0:00 | 0:05 | 0:00 | 3.4 | 100 | 99.65 | 99.51 | 97.87 | 84.85 | 5.63 | 2010-09-26
2021-04-27 | Kass 4 | Kaas | DJM | LS-019 | 4640 | 97788 | 1821940 | 13:12 | 10:47 | 0:00 | 0:00 | 0:01 | 0:00 | 4.25 | 100 | 99.9 | 99.52 | 97.87 | 193.58 | 12.89 | 2010-09-26
2021-04-28 | Kass 4 | Kaas | DJM | LS-019 | 1484 | 99272 | 1823420 | 9:50 | 14:04 | 0:00 | 0:00 | 0:07 | 0:00 | 3.04 | 100 | 99.54 | 99.52 | 97.88 | 62.14 | 4.12 | 2010-09-26
2021-04-29 | Kass 4 | Kaas | DJM | LS-019 | 3726 | 102998 | 1827150 | 16:04 | 4:34 | 0:00 | 2:19 | 1:03 | 0:00 | 5.04 | 90.35 | 95.62 | 99.39 | 97.87 | 180.7 | 10.35 | 2010-09-26
2021-04-30 | Kass 4 | Kaas | DJM | LS-019 | 1628 | 104626 | 1828770 | 15:18 | 8:42 | 0:00 | 0:00 | 0:00 | 0:00 | 3.59 | 100 | 100 | 99.41 | 97.88 | 67.83 | 4.52 | 2010-09-26
2021-05-01 | Kass 4 | Kaas | DJM | LS-019 | 5280 | 5280 | 1834050 | 15:34 | 8:26 | 0:00 | 0:00 | 0:00 | 0:00 | 4.79 | 100 | 100 | 100 | 97.89 | 220 | 14.67 | 2010-09-26
2021-05-02 | Kass 4 | Kaas | DJM | LS-019 | 0 | 5280 | 1834050 | 0:00 | 0:00 | 0:00 | 12:12 | 0:00 | 0:00 | 0 | 49.17 | 100 | 100 | 97.89 | 0 | 0 | 2010-09-26
2021-05-03 | Kass 4 | Kaas | DJM | LS-019 | 0 | 5280 | 1834050 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0 | 100 | 100 | 100 | 97.9 | 0 | 0 | 2010-09-26
2021-05-04 | Kass 4 | Kaas | DJM | LS-019 | 2478 | 7758 | 1836530 | 18:36 | 3:22 | 0:00 | 2:02 | 0:00 | 0:00 | 4.5 | 91.53 | 100 | 100 | 97.91 | 112.79 | 6.88 | 2010-09-26
2021-05-05 | Kass 4 | Kaas | DJM | LS-019 | 4234 | 11992 | 1840770 | 17:28 | 6:32 | 0:00 | 0:00 | 0:00 | 0:00 | 4.57 | 100 | 100 | 100 | 97.91 | 176.42 | 11.76 | 2010-09-26
2021-05-06 | Kass 4 | Kaas | DJM | LS-019 | 0 | 11992 | 1840770 | 0:00 | 0:00 | 0:00 | 1:05 | 0:02 | 0:00 | 0 | 95.49 | 99.89 | 99.98 | 97.92 | 0 | 0 | 2010-09-26
2021-05-07 | Kass 4 | Kaas | DJM | LS-019 | 0 | 11992 | 1840770 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0 | 100 | 100 | 99.98 | 97.93 | 0 | 0 | 2010-09-26
2021-05-08 | Kass 4 | Kaas | DJM | LS-019 | 0 | 11992 | 1840770 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0 | 100 | 100 | 99.99 | 97.93 | 0 | 0 | 2010-09-26
2021-05-09 | Kass 4 | Kaas | DJM | LS-019 | 3624 | 15616 | 1844390 | 19:02 | 4:58 | 0:00 | 0:00 | 0:00 | 0:00 | 4.55 | 100 | 100 | 99.99 | 97.94 | 151 | 10.07 | 2010-09-26
2021-05-10 | Kass 4 | Kaas | DJM | LS-019 | 3896 | 19512 | 1848290 | 11:28 | 11:44 | 0:00 | 0:48 | 0:00 | 0:00 | 4.81 | 96.67 | 100 | 99.99 | 97.95 | 167.93 | 10.82 | 2010-09-26
2021-05-11 | Kass 4 | Kaas | DJM | LS-019 | 8672 | 28184 | 1856960 | 23:48 | 0:02 | 0:00 | 0:00 | 0:10 | 0:00 | 6.66 | 100 | 99.28 | 99.92 | 97.95 | 364.06 | 24.09 | 2010-09-26
2021-05-12 | Kass 4 | Kaas | DJM | LS-019 | 6796 | 34980 | 1863750 | 22:43 | 0:59 | 0:00 | 0:00 | 0:18 | 0:00 | 5.95 | 100 | 98.74 | 99.83 | 97.95 | 286.99 | 18.88 | 2010-09-26
2021-05-13 | Kass 4 | Kaas | DJM | LS-019 | 0 | 34980 | 1863750 | 0:00 | 0:00 | 0:00 | 0:00 | 0:04 | 0:00 | 0 | 100 | 99.75 | 99.82 | 97.96 | 0 | 0 | 2010-09-26
2021-05-14 | Kass 4 | Kaas | DJM | LS-019 | 0 | 34980 | 1863750 | 0:00 | 0:00 | 0:00 | 6:40 | 0:00 | 0:00 | 0 | 72.22 | 100 | 99.83 | 97.97 | 0 | 0 | 2010-09-26
2021-05-15 | Kass 4 | Kaas | DJM | LS-019 | 0 | 34980 | 1863750 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0 | 100 | 100 | 99.84 | 97.97 | 0 | 0 | 2010-09-26
2021-05-16 | Kass 4 | Kaas | DJM | LS-019 | 0 | 34980 | 1863750 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0 | 100 | 100 | 99.85 | 97.98 | 0 | 0 | 2010-09-26
2021-05-17 | Kass 4 | Kaas | DJM | LS-019 | 0 | 34980 | 1863750 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0 | 100 | 100 | 99.86 | 97.98 | 0 | 0 | 2010-09-26
2021-05-18 | Kass 4 | Kaas | DJM | LS-019 | 0 | 34980 | 1863750 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0:00 | 0 | 100 | 100 | 99.87 | 97.99 | 0 | 0 | 2010-09-26
2021-05-19 | Kass 4 | Kaas | DJM | LS-019 | 14522 | 49502 | 1878280 | 23:42 | 0:10 | 0:00 | 0:00 | 0:08 | 0:00 | 8 | 100 | 99.44 | 99.85 | 98 | 608.38 | 40.34 | 2010-09-26
2021-05-20 | Kass 4 | Kaas | DJM | LS-019 | 4926 | 54428 | 1883200 | 20:48 | 2:08 | 0:00 | 0:00 | 1:04 | 0:00 | 5.3 | 100 | 95.56 | 99.63 | 97.99 | 214.83 | 13.68 | 2010-09-26 |  | During running time this error was came. We check and converter manual testing time IGBT module protection "W" phase error came. So replaced the firing cables. Then converter manual tested ok and restart the machine.(1)
2021-05-21 | Kass 4 | Kaas | DJM | LS-019 | 4892 | 59320 | 1888090 | 23:58 | 0:02 | 0:00 | 0:00 | 0:00 | 0:00 | 5.4 | 100 | 100 | 99.65 | 97.99 | 203.83 | 13.59 | 2010-09-26
2021-05-22 | Kass 4 | Kaas | DJM | LS-019 | 11226 | 70546 | 1899320 | 23:58 | 0:02 | 0:00 | 0:00 | 0:00 | 0:00 | 7.2 | 100 | 100 | 99.67 | 98 | 467.75 | 31.18 | 2010-09-26
2021-05-23 | Kass 4 | Kaas | DJM | LS-019 | 7624 | 78170 | 1906940 | 20:58 | 3:02 | 0:00 | 0:00 | 0:00 | 0:00 | 5.8 | 100 | 100 | 99.68 | 98.01 | 317.67 | 21.18 | 2010-09-26
2021-05-24 | Kass 4 | Kaas | DJM | LS-019 | 3772 | 81942 | 1910720 | 17:29 | 2:59 | 0:00 | 3:31 | 0:01 | 0:00 | 5.1 | 85.35 | 99.93 | 99.69 | 98.01 | 184.27 | 10.48 | 2010-09-26
2021-05-25 | Kass 4 | Kaas | DJM | LS-019 | 5222 | 87164 | 1915940 | 20:58 | 2:57 | 0:00 | 0:00 | 0:05 | 0:00 | 5.1 | 100 | 99.65 | 99.69 | 98.02 | 218.31 | 14.51 | 2010-09-26
2021-05-26 | Kass 4 | Kaas | DJM | LS-019 | 15580 | 102744 | 1931520 | 19:13 | 0:07 | 0:00 | 4:32 | 0:08 | 0:00 | 9.2 | 81.11 | 99.44 | 99.68 | 98.02 | 806 | 43.28 | 2010-09-26
2021-05-27 | Kass 4 | Kaas | DJM | LS-019 | 19504 | 122248 | 1951020 | 21:01 | 0:11 | 0:00 | 1:58 | 0:50 | 0:00 | 10.6 | 91.81 | 96.53 | 99.56 | 98.02 | 920 | 54.18 | 2010-09-26
2021-05-28 | Kass 4 | Kaas | DJM | LS-019 | 14500 | 136748 | 1965520 | 19:00 | 0:00 | 0:00 | 5:00 | 0:00 | 0:00 | 9 | 79.17 | 100 | 99.58 | 98.02 | 763.16 | 40.28 | 2010-09-26
2021-05-29 | Kass 4 | Kaas | DJM | LS-019 | 9830 | 146578 | 1975350 | 23:48 | 0:12 | 0:00 | 0:00 | 0:00 | 0:00 | 6.9 | 100 | 100 | 99.59 | 98.03 | 409.58 | 27.31 | 2010-09-26
2021-05-30 | Kass 4 | Kaas | DJM | LS-019 | 3704 | 150282 | 1979060 | 18:14 | 5:21 | 0:00 | 0:25 | 0:00 | 0:00 | 4.8 | 98.26 | 100 | 99.61 | 98.03 | 157.08 | 10.29 | 2010-09-26
2021-05-31 | Kass 4 | Kaas | DJM | LS-019 | 2320 | 152602 | 1981380 | 16:55 | 0:00 | 0:00 | 7:05 | 0:00 | 0:00 | 5 | 70.49 | 100 | 99.62 | 98.04 | 137.12 | 6.44 | 2010-09-26